## Main
| Holding Company | [8 empty] | الشركة القابضة
| Fayoum Drinking Water and Sanitation Company | [6 empty] | شركة مياه الشرب والصرف الصحى بالفيوم
| Lab. Department | [6 empty] | قطاع المعامل - الادارة العامة لمعامل محطات الصرف الصحى
Tamiya Sanitation Plant laboratory | [8 empty] | معمل محطة معالجة طامية
Sampling Date : | [6 empty] | Analysis Date : | [5 empty] | .
|  |  | Wastewater Results |  |  |  | النتـــائـج
|  |  |  | pH | Temp. | TS | TSS | TDS | COD | DO | S-2 (as H2S) | O&G | Residual Cl2
|  |  | Unit |  | °c | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l
Influent الدخول
Effluent السيب النهائى |  |  | المعايير | 6.5 - 9 | 15-35 |  | 50 | <2000 | <80 | >4 | <=1 | <10 | 0.5 - 1
النتائج
Efficiency Removal %
|  |  |  | Operation Test |  |  | اختبارات التشغيل
|  |  |  | TSS |  | SV30 | SVI | DO | VSS | Dry Sludge TS% | Microscopic Examination
|  |  | Range | 3000 - 5000 |  | ml/l | 80 - 120 ml/g | 1-3 mg/l | mg/l |  | Microrganism |  | Found | Many | Ciliates
Aeration tank 1 |  |  | النتائج Results | [10 empty] | Few | Stacked Ciliates
Aeration tank 2 | [13 empty] | Dominant | Flagellates
Mixed Liquour مجمع حوض التهوية | [14 empty] | Amoeba
RAS الحمأة الراجعة | [14 empty] | Rotifera
Thickener مغلظ الحمأة | [14 empty] | Worm
Water Bear
|  | MCRT |  |  |  | F/M |  |  |  |  | Ope Time |  |  |  | Filamentous
Location مكان العينة |  |  | Influent الدخول |  |  |  | Treated Effluent السيب النهائى
Parameter |  |  | BOD5 | [6 empty] | Turbidity |  | Total coliform
Unit الوحدة |  |  | mg/l |  |  |  | mg/l |  |  | NTU |  | MPN/100ml
Criteria المعايير |  |  | 500 طبقا لتصميم المحطة |  |  |  | <60 |  |  | <10
Results النتائج
Efficiency Removal %
| نتائج مقاس عمود الحمأة |  |  |  |  | Results interpretation
| Reviewed by | [8 empty] | Analyzed by
D:\Plant\labratory folder\Plant\Daily Sheets\
D:\Plant\Ch-Mohamad\Daily Sheet\Monthly Report\
D:\labratory folder\المحطة\التقرير اليومي\
D:\Plant\Ch-Mohamad\Daily Sheet\Monthly Report\
D:\Plant\تقرير محطات 2023\
D:\Plant\Ch-Mohamad\Quality\
D:\Plant\labratory folder\Plant\Daily PDF\

## COD
الشركة القابضة لمياة الشرب و الصرف الصحى
قطاع المعامل
الأدارة العامة لمعامل الصرف الصحى
Tamiya Sanitation Plant laboratory
COD WORK SHEET | [7 empty] | SAMPLE DATE: |  |  |  | ANALYSIS DATE:
20th EDITION, of The Standard Method for the Examination of Water and Wastewater | [7 empty] | TIME: ....................................................................
PROCEDURE NUMBER 5220 D CLOSED REFLUX, COLORIMETRIC
(1) SAMPLE TYPE |  | Influent |  | Effluent | [11 empty] | 10 |  | 12
(2) BOTTLE NUMBER |  | 1 | 2 | 3 | 4 | [10 empty] | 13 | 14 | 15 | 16
(3) SAMPLE VOLUME, ml |  | 2.5 | 2.5 | 2.5 | 2.5 | [10 empty] | 2.5 | 2.5 | 2.5 | 2.5
(4) DILUTION FACTOR = 2 / (3) |  | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 | 1
(5) COLORIMETER READING mg/l
(6) COD mg/l = (5) x (4)
Average
R
RPD
[10 empty] | LR | HR
تسجيل التجربة
التخفيف
REAGENT
| Influent HR | Effluent ( 0 - 400 ) | Influent LR | Effluent ( 0 - 70 ) |  | FAS | Normality | [15 empty] | Column1 | Ag2SO4 | H2SO4 | 1,10-phenanthroline monohydrate | FeSO4 7H2O | D.Water | Fe(NH4)2(SO4)2.6H2O | HgSO4 | K2Cr2O7
B | 6.67 | 2.65 |  | 0.78 | [5 empty] | العينة | ماء مقطر | [11 empty] | Sulfuric acid reagent | 5.5 g | 543.5 ml
S1 | [5 empty] | V | 2.5 |  |  | 49 |  | Influent HR | [10 empty] | LR ( 0 - 400 ) 0.5 L |  | 83.5 |  |  | To 500 |  | 16.65 | 2.4515 g
COD | [5 empty] | Influent LR | Influent HR | effluent | effluent | 100 |  | Effluent (0-400) | [10 empty] | HR ( 100 - 900 ) 0.5 L |  | 83.5 |  |  | To 500 |  | 16.65 | 5.108
S2 | [9 empty] | 100 |  | Influent LR | 88.8879 | 49 | 1 | [7 empty] | LR ( 0 - 90 ) 0.5 L |  | 83.5 |  |  | To 500 |  | 16.65 | 0.511
COD | [9 empty] | 100 |  | Effluent ( 0 - 70 ) |  |  |  | 1 | [6 empty] | Ferroin indicator stock 100 ml |  |  | 1.485 g | 0.695 g | To 100
Average | [22 empty] | FAS 0.025 N |  | 2 ml |  |  | To 100 | 3.920 g
STDV | [22 empty] | FAS 0.0125 N |  | 2 ml |  |  | To 100 | 1.96 g
r | [22 empty] | FAS 0.025 N |  | 10 ml |  |  | To 500 | 19.6 g
CV | [11 empty] | رجوع | [7 empty] | 425 | 250 |  | FAS 0.0125 N |  | 10 ml |  |  | To 500 | 9.8 g
RPD | [20 empty] | 100 | [9 empty] | BACK
RPD
| Standard | S1 | S1R | S2 | S2R | Mean | STD | r | Precission
70 ( 0 - 70 )
Standards | 10 ( 0 - 70 )
50 ( 50 - 400 )
90 ( 0 - 70 )
90 ( 50 - 400 )
| 120 ( 50 - 400 ) | [10 empty] | Spike | LR | Spike | HR |  |  |  |  | Spike v | 50
| 400 ( 50 - 400 ) | [18 empty] | STD v | 5
[6 empty] | D | FAS v | COD LR | D | FAS v | COD HR | S1 |  | S1 | [5 empty] | Sample v | 45
COD Procedure |  | 5220 C. | [9 empty] | COD |  | COD
STDV | ±10 | [10 empty] | S2 |  | S2
CV | 4.8% | [10 empty] | COD |  | COD
[12 empty] | Average |  | Average
[12 empty] | Recovery |  | Recovery
| 25 | 50 |  |  |  | 50 | Average |  | 500 | Average
|  | 500 |  |  |  |  | STDV |  |  | STDV
[7 empty] | r |  |  | r
[7 empty] | CV |  |  | CV
[7 empty] | D% |  |  | D%
[7 empty] | Bias |  |  | Bias
| Standard | S1 | S1R | S2 | S2R | Mean | STD | r | Precission
100 ( 200 - 900 )
200 ( 200 - 900 )
تسجيل التجربة
[10 empty] | التخفيف | [9 empty] | M.Wt. | Molarity | Normality
[15 empty] | Potassium dichromate |  |  |  |  | 294.185
| Influent HR | Effluent LR | Influent LR |  |  | FAS | Normality | [7 empty] | LR ( 0 - 400) |  |  |  |  | 4.903
B | 11.89 | 0.5 | [7 empty] | العينة | ماء مقطر |  |  |  | HR ( 100 - 900) |  |  |  |  | 10.1216
S1 | [5 empty] | V | 2 |  |  | 100 |  | Influent HR |  |  | LR ( Ready)
COD | [5 empty] | Influent | Influent | effluent |  | 100 |  | Effluent |  |  | HR ( Ready)
S2 | [9 empty] | 15 |  | Influent LR |  |  | LR ( 0 - 90) |  |  |  |  | 1.022
COD
Average
STDV
r
CV |  |  |  | Standards | [7 empty] | رجوع
RPD
RPD
| Standard | S1 | S1R | S2 | S2R | Mean | STD | r | Precission
50
| 100 | [10 empty] | 1 | 4
| 400 | [9 empty] | 800 | 100 |  |  | 2 |  |  |  |  | 25 | 1000
| 800 | [9 empty] | 600 | [9 empty] | 50
| 1000 | [9 empty] | 400 | [9 empty] | 100
[11 empty] | 200 | [9 empty] | 400
[11 empty] | 140 | [9 empty] | 800
120
100
80
|  | COD | KHP | [7 empty] | 60
|  | 1.176 | 1 | [7 empty] | 50
|  |  | 425 | [7 empty] | 40
|  |  | 426.8 | [7 empty] | 20
900
90
70
10
300
500
700
30
110
Std Vol in 25 ml
| Standard Conc | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 |  | Average
Titration
Recovery
Colorimetry
Recovery
Std Vol in 25 ml
| Standard | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | Average
Titration
Recovery
Colorimetry
Recovery

## Sulfide
Holding Company |  |  |  |  | الشركة القابضة
Fayoum drinking Water and Sanitation Company |  |  |  |  | شركة مياه الشرب والصرف الصحى بالفيوم
قطاع المعامل - الادارة العامة لمعامل الصرف الصحى
SULFIDE (S2-) WORK SHEET |  | Plant: Tamiya |  | FORM ID:
20th EDITION, of The Standard Method for the Examination of Water and Wastewater |  | Lab ID: WWL03 |  | SAMPLE DATE:
PROCEDURE NUMBER 4500-S2- |  |  |  | ANALYSIS DATE:
(1) SAMPLE TYPE/ ID | Influent | Effluent
(2) Iodine VOLUME, ml | 10 | 10
(3) SAMPLE VOLUME, ml | 200 | 200
(4) Sodium Thiosulphate VOLUME, ml
(5) Sodium Thiosulphate VOLUME, ml after correction
(6) Sulfide S2- concentration
Standardization
Digital Burette | 20G33740
Trials | I2 | Na2S2O3 | Trials |  |  |  | Solution | Na2S2O3.5H2O | NaOH | I2 | KI | D.Water | KH(IO3)2 | HCl
Iodine Volume | 10 | 10 | KH(IO3)2 |  |  |  | Sodium Thiosulfate 0.025 N | 6.205 g | 0.4 g |  |  | 1000 ml
1st trial with standardized Na2S2O3 | 10 | 10 | 1st trial with KH(IO3)2 |  |  |  | KH(IO3)2 0.0021M |  |  |  |  | 1000 ml | 0.812 g
2nd trial with standardized Na2S2O3 | 10 | 10 | 2nd trial with KH(IO3)2 |  |  |  | Iodine 0.025 N |  |  | 3.2 g | 25 g | 1000 ml
3rd trial with standardized Na2S2O3 | 10 | 10 | 3rd trial with KH(IO3)2 |  |  |  | HCL 6 N |  |  |  |  | 1000 ml |  | 500 ml
Iodine Normality |  |  | Na2S2O3 Normality
رجوع

## DO
| Winkler | [6 empty] | DO meter |  |  | %
الخروج | DO |  |  | حوض1 | DO |  | الخروج | DO | حوض1 | DO
| DO |  |  | حوض2 | DO |  | المجمع | DO | حوض2 | DO
| الخروج | DO
رجوع
| المجمع | DO
[5 empty] | SV30 | Correction
Specific Oxygen Uptake Rate
|  | DO1 |  |  | DO2
|  | Time | 15
SOUR

## WC%
No | Crucible W1 | Sludge + Crucible W2 | Dry + crucible W3 | DC % | WC %
[7 empty] | S.N. | Crucible W1 | Correcttion 1 | Net weight 1 | Sludge + Crucible W2 | Correcttion2 | Net weight2 | Dry + crucible W3 | Correcttion23 | Net weight24
|  |  |  | F | V
رجوع

## Efficiency
الشركة القابضة لمياة الشرب و الصرف الصحى
قطاع المعامل
الأدارة العامة لمعامل الصرف الصحى
Removal efficiency
| Parameter | S-- | TSS |  | COD | BOD | MLSS
Removal
رجوع
Technical manager: | Mohamad Alawamy

## BOD5
الشركة القابضة لمياة الشرب و الصرف الصحى
قطاع المعامل
الأدارة العامة لمعامل الصرف الصحى
BOD5 WORK SHEET | [6 empty] | SAMPLE DATE: |  |  |  | ANALYSIS DATE:
18th EDITION, of The Standard Method for the Examination of Water and Wastewater | [6 empty] | TIME: |  |  | 0 | 0 DAY DO DATE:
PROCEDURE NUMBER 5210 B | [6 empty] | TIME: |  |  |  | 5 DAY DO DATE:
|  |  | V |  |  |  | ANALYST: | [8 empty] | PH
|  |  | 300 |  |  |  | W seeding |  |  |  | Seeding |  |  |  | Influent
(1) SAMPLE TYPE | [13 empty] | Seeding | effluent
(2) BOTTLE NUMBER
(3) SAMPLE VOLUME, ml
(4) DILUTION FACTOR = 300 / (3)
(5) INITIAL DO, mg/l
(6) 5- DAY DO, mg/l * | [13 empty] | V
(7) DO DEPLETION, mg/l = (5) - (6) **
(8) BLANK DEPLETION CORRECTION, mg/l = (11) of Blank, mg/l X DW, ml / 300
(9) DO CORRECTION = (7) - (8)
(10) BOD5, mg/l = (9) X (4)
(11) BOD5 AVERAGE | [16 empty] | Dilution Water
(12) BOD5 Correction | [16 empty] | Column1 | FeCl3.6H2O | KH2PO4 | K2HPO4 | Na2HPO4.7H2O | D.Water | NH4Cl | MgSO4.7H2O | CaCl2 | glucose | glutamic acid | Na2HPO4 | C4H8N2s | conc H2SO4 | NaOH | Conc HCl
SPIKE recovery | [16 empty] | Ferric chloride | 0.125 g |  |  |  | To 500 | [9 empty] | 3 drops
RPD
* The residual 5-day-DO must be at least 1mg/l | If less | The BOD is greater than the higest DO | [12 empty] | D.Water | 500 ml | Phosphate buffer solution |  | 0.85 g | 2.175 g | 3.34 g | To 100 | 0.17 g
** 5-day-DO uptake 2 mg/l or greater | If less | The BOD is less than the lowest Dilution | [6 empty] | Influent |  | effluent |  |  |  | Glucose | 75 | Magnesium sulfate |  |  |  |  | To 100 |  | 2.25 g
*** No depletion correction needed if DO depletion in the blank is less than 0.2 mg/l | [14 empty] | Glutamic | 75 | Calcium chloride |  |  |  |  | To 100 |  |  | 2.75 g
DW = Dilution Water | [7 empty] | Manometric | [8 empty] | Glucose–glutamic acid at < 6°C |  |  |  |  | To 1000 |  |  |  | 0.15 g | 0.15 g
| Tanks V | Flow | MLSS | VSS% | Clarifier | [11 empty] | Acid solution 1 N |  |  |  |  | To 100 | [7 empty] | 2.8 ml
|  | 15000 | [10 empty] | رجوع |  |  |  | Alkali solution 1 N |  |  |  |  | To 100 | [8 empty] | 4 g
[17 empty] | Phosphate buffer solution |  | 4.25 g |  |  | To 100 | 0.17
| F/M |  | 0.05 / 0.15 | [13 empty] | Allylthiourea |  |  |  |  | 50 | [6 empty] | 0.1 g
Scale
|  | m3/h | Operating | m3/day | SS | Q*SS | Qss % |  |  |  | WAS on | 1 |  | 60
| WAS | 43.2 | [8 empty] | WAS off | 10 |  | 10
| Effluent | [9 empty] | WAS/RAS | [12 empty] | رجوع
| Thick | [9 empty] | RAS on | 5 |  | 6
Reagent | [10 empty] | RAS off | 3 |  | 2
|  | MCRT |  | 10 ; 30 | [6 empty] | Thick on | 8 |  | min
[11 empty] | Thick off | 4 |  | hr
| Q (ras) |  | ON |  | OFF
RAS time
| WAS desired m3 |  |  | ON |  |  | OFF | Scale
| Was time |  |  |  | was OFF |  |  | 10
| Kg O2 |  |  | Kg/d |  |  |  | 60
| Air volume |  |  | m3/d
WAS | 43.2 | m3/hr
RAS | 504 | m3/hr
Sludge retention time | SRT |  | days
Sludge age | SA |  | days
Clarifier Area | 530.66 | m2 | 2
Clarifier volume | 1327.94 | m3 | 2
Clarifier SOR |  | m3/m2h | Less than 0.68
Thickenner SOR |  | Kg D.S/m2d | Less than 20
Clarifier SOR for TSS |  | Kg TSS/m2h | Less than 2.7
| WAS |  | hh:mm
| Thickenner |  | hh:mm
Note on C32: mohamed: = BOD5 * Flow /(MLVSS *(Aeration tank volume + clarifier volume )
Note on D39: mohamed: =MLSS*(ATV+CLV)/((RASS*Was flow)+(Effluent TSS *flow))
Note on D45: mohamed: =((MLSS*(ATV +CLV)/MCRT(20 D))- (Eff TSS * Flow))/(RASS/1000)

## turbidity
Holding Company | [6 empty] | الشركة القابضة
Fayoum drinking Water and Sanitation Company |  |  |  |  | شركة مياه الشرب والصرف الصحى بالفيوم
قطاع المعامل - الادارة العامة لمعامل الصرف الصحى
Turbidity comparison
Sampling Dat : |  |  |  | Analysis Date :
Location مكان العينة |  |  | Treated Effluent السيب النهائى |  |  |  | Chlorinated Effluent
Parameter |  |  | BOD5 | Turbidity |  |  | TSS
Unit الوحدة |  |  | mg/l | NTU |  |  | mg/l
Criteria المعايير |  |  | <60 | <10 |  |  | <50
Results النتائج
رجوع
| Analyzed by |  |  |  |  | Reviewed by

## BreakPoint
|  | CL- M.Wt | 35.45
| Cl- Power | Na2S2O3 |  | Blank | Na2S2O3
V | 10 | 5.5 | V | 250 | 0
mg Cl2 ( Dose )
ml of Cl2 in L
ml of Cl2 in 250 ml
|  | R Cl | [11 empty] | رجوع
Temp
PH
|  | Contact time | 20 min
|  | Residual chlorine | 0.16
|  | Chlorine demand | 4.8
|  | Chlorine Requirement | 6.5
[6 empty] | 0.6 | 0.5 | 0.6 | 0.4 | 0.3 | 0.4 | 0.41 | 0.43 | 0.44 | 0.3 | 0.31

## Break point report
Holding Company | [7 empty] | الشركة القابضة
Fayoum drinking Water and Sanitation Company | [5 empty] | شركة مياه الشرب والصرف الصحى بالفيوم
قطاع المعامل - الادارة العامة لمعامل الصرف الصحى
BreakPoint
Sampling Dat : |  |  |  |  | Analysis Date :
عينة الصحة
Scoope :
* Determine Chlorine dose for Effluent disinfection .
* Standardize chlorine solution by Iodometric titration.
* Measuring Residual Chlorine by HACH Pocket Colorimeter II .
Sampling :
* Chlorine Solution is collected from chlorine injector system.
* Effluent is collected from final sedemtation.
|  | Chlorine demand | 4.8 | mg/L
Results :
mg Cl2 ( Dose )
ml of Cl2 in L
ml of Cl2 in 250 ml
Total Cl
Temp
PH
|  | Contact Time | 20 min
|  | Residual chlorine | 0.14
Chlorine demand
|  | Chlorine Requirement | 6.5 | Chlorine Dose
| Analyzed by | [5 empty] | Reviewed by

## TS & VS
Holding Company |  |  |  |  | الشركة القابضة
Fayoum drinking Water and Sanitation Company |  |  |  |  | شركة مياه الشرب والصرف الصحى بالفيوم
قطاع المعامل - الادارة العامة لمعامل الصرف الصحى
TOTAL SUSPENDED SOLIDS ( TS & VS ) WORK SHEET |  |  |  | FORM ID:
20th EDITION, of The Standard Method for the Examination of Water and Wastewater |  |  |  | SAMPLE DATE:
PROCEDURE NUMBER 2450 B & 2540 G |  |  |  | ANALYSIS DATE: |  |  | S.N. | WEIGHT 1 | Correcttion 1 | Net weight 1 | WEIGHT2 | Correcttion2 | Net weight 2 | WEIGHT3 | Correcttion3 | Net weight3
(1) SAMPLE TYPE/ ID | Influent | Effluent | Thickenner | Influent | Mix | Mix
(2) CRUCIBLE NUMBER
(3) SAMPLE VOLUME, ml
(4) TARE WT. OF DRY CRUCIBLE /CRUCIBLE g
(5) WT. OF DRY CRUCIBLE / ASH CRUCIBLE g
(6) WT. OF DRY SOLIDS/ VOLATILE SOLIDS, g = (5) - ( 4)
(7) TS / VS = mg/l (6) X 1,000,000 / (3)
(8) % VOLATILE = VS x 100 / TS
(9)Thickenner TS%
|  | Influent | Effluent | Thickenner | Mix | RAS
| Gravimetry |  |  |  | NO | NO
Centrifuge
رجوع

## TSS
Holding Company |  |  |  |  | الشركة القابضة
Fayoum drinking Water and Sanitation Company |  |  |  |  | شركة مياه الشرب والصرف الصحى بالفيوم
قطاع المعامل - الادارة العامة لمعامل الصرف الصحى
WASTWATER TREATMENT PLANT LABORATORY
TOTAL SUSPENDED SOLIDS ( TSS ) WORK SHEET |  |  |  | FORM ID:
20th EDITION, of The Standard Method for the Examination of Water and Wastewater |  |  |  | SAMPLE DATE:
PROCEDURE NUMBER 2450 D |  |  |  | ANALYSIS DATE:
(1) SAMPLE TYPE/ ID | Influent | Mixed Liquor | RAS | Effluent
(2) FILTER NUMBER
(3) SAMPLE VOLUME, ml
(4) TARE WT. OF FILTER, g
(5) WT. OF DRY FILTER, g
(6) WT. OF DRY SOLIDS, g = (5) - ( 4)
(7) TSS = mg/l (6) X 1,000,000 / (3)
(8) % VOLATILE = VS x 100 / TS
|  |  | Influent | Mixed Liquor | RAS | Effluent
Gravimetry
Centrifuge
رجوع

## TDS
Holding Company | [5 empty] | الشركة القابضة |  |  | Original | Supposed
Fayoum drinking Water and Sanitation Company | [5 empty] | شركة مياه الشرب والصرف الصحى بالفيوم |  |  | F |  | Influent | Effluent |  |  | ACCEPTED RANGE |  |  |  | Original | Supposed
[6 empty] | قطاع المعامل - الادارة العامة لمعامل الصرف الصحى |  | Influent Factor | 0.75 | [5 empty] | F | Influent | Effluent | Conductivity
WASTWATER TREATMENT PLANT LABORATORY | [7 empty] | Effluent Factor | 0.35 |  |  |  |  | From |  |  |  |  | 1208
TOTAL SUSPENDED SOLIDS ( TDS ) WORK SHEET |  |  |  |  | FORM ID: |  |  | DW Factor | 0.354 |  |  |  |  | To
20th EDITION, of The Standard Method for the Examination of Water and Wastewater |  |  |  |  | SAMPLE DATE:
PROCEDURE NUMBER 2450 C |  |  |  |  | ANALYSIS DATE:
(1) SAMPLE TYPE/ ID |  | influent | effluent | standard | stanard |  |  |  | S.N. | WEIGHT 1 | Correcttion 1 | Net weight 1 | WEIGHT2 | Correcttion2 | Net weight2
(2)CRUCIBLE NUMBER
(3) SAMPLE VOLUME, ml
(4) TARE WT. OF CRUCIBLE g
(5) WT. OF DRY DISH g
(6) WT. OF DRY SOLIDS, g = (5) - ( 4)
(7) TDS = mg/l (6) X 1,000,000 / (3)
[5 empty] | Influent | Effluent | Standard | DW
|  |  |  | TDS oven 180 |  |  | 0.0679
Conductivity
TDS
Cond Efficiency
[21 empty] | Column1 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[6 empty] | رجوع | [15 empty] | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[21 empty] | 0 | 1147 | 1173 | 1199 | 1225 | 1251 | 1278 | 1305 | 1332 | 1359 | 1386 | 1413 | 1440 | 1467 | 1494 | 1522 | 1549
[21 empty] | 0.1 | 1149.6 | 1175.6 | 1201.6 | 1227.6 | 1253.7 | 1280.7 | 1307.7 | 1334.7 | 1361.7 | 1388.7 | 1415.7 | 1442.7 | 1469.7 | 1496.8 | 1524.7 | 1551.7
[21 empty] | 0.2 | 1152.2 | 1178.2 | 1204.2 | 1230.2 | 1256.4 | 1283.4 | 1310.4 | 1337.4 | 1364.4 | 1391.4 | 1418.4 | 1445.4 | 1472.4 | 1499.6 | 1527.4 | 1554.4
[21 empty] | 0.3 | 1154.8 | 1180.8 | 1206.8 | 1232.8 | 1259.1 | 1286.1 | 1313.1 | 1340.1 | 1367.1 | 1394.1 | 1421.1 | 1448.1 | 1475.1 | 1502.4 | 1530.1 | 1557.1
[21 empty] | 0.4 | 1157.4 | 1183.4 | 1209.4 | 1235.4 | 1261.8 | 1288.8 | 1315.8 | 1342.8 | 1369.8 | 1396.8 | 1423.8 | 1450.8 | 1477.8 | 1505.2 | 1532.8 | 1559.8
[21 empty] | 0.5 | 1160 | 1186 | 1212 | 1238 | 1264.5 | 1291.5 | 1318.5 | 1345.5 | 1372.5 | 1399.5 | 1426.5 | 1453.5 | 1480.5 | 1508 | 1535.5 | 1562.5
[21 empty] | 0.6 | 1162.6 | 1188.6 | 1214.6 | 1240.6 | 1267.2 | 1294.2 | 1321.2 | 1348.2 | 1375.2 | 1402.2 | 1429.2 | 1456.2 | 1483.2 | 1510.8 | 1538.2 | 1565.2
[21 empty] | 0.7 | 1165.2 | 1191.2 | 1217.2 | 1243.2 | 1269.9 | 1296.9 | 1323.9 | 1350.9 | 1377.9 | 1404.9 | 1431.9 | 1458.9 | 1485.9 | 1513.6 | 1540.9 | 1567.9
[21 empty] | 0.8 | 1167.8 | 1193.8 | 1219.8 | 1245.8 | 1272.6 | 1299.6 | 1326.6 | 1353.6 | 1380.6 | 1407.6 | 1434.6 | 1461.6 | 1488.6 | 1516.4 | 1543.6 | 1570.6
[21 empty] | 0.9 | 1170.4 | 1196.4 | 1222.4 | 1248.4 | 1275.3 | 1302.3 | 1329.3 | 1356.3 | 1383.3 | 1410.3 | 1437.3 | 1464.3 | 1491.3 | 1519.2 | 1546.3 | 1573.3
|  | Date | Equipment | Temp °c | uS/cm | Found uS/cm | Re-read | Remark
HACH
ORION
Multi-Electrode
تصرف الطلمبات | طامية | الروضة | الروبيات | محطة المعالجة | RAS | WAS
L/S | 210 | 75 | 150
m3 /hr |  |  |  | 834 | 540 | 43.2
m3/ 12 hr
m3/day

## O&G
Holding Company |  |  |  |  | الشركة القابضة
Fayoum drinking Water and Sanitation Company |  |  |  |  | شركة مياه الشرب والصرف الصحى بالفيوم
قطاع المعامل - الادارة العامة لمعامل الصرف الصحى
WASTWATER TREATMENT PLANT LABORATORY
Oil and Grease ( O&G ) WORK SHEET |  |  |  | FORM ID:
20th EDITION, of The Standard Method for the Examination of Water and Wastewater |  |  |  | SAMPLE DATE:
ANALYSIS DATE:
(1) SAMPLE TYPE/ ID | Influent | Effluent |  |  |  | S.N. | WEIGHT 1 | Correcttion 1 | Net weight 1 | WEIGHT2 | Correcttion2 | Net weight2
(2)CRUCIBLE NUMBER
(3) SAMPLE VOLUME, ml
(4) TARE WT. OF CRUCIBLE g
(5) WT. OF DRY DISH g
(6) WT. OF DRY SOLIDS, g = (5) - ( 4)
(7) TDS = mg/l (6) X 1,000,000 / (3)
|  |  |  | Influent | Effluent
O&G
رجوع

## Seed
الشركة القابضة لمياة الشرب و الصرف الصحى
قطاع المعامل
الأدارة العامة لمعامل الصرف الصحى
BOD5 WORK SHEET |  |  | SAMPLE DATE: |  |  | ANALYSIS DATE:
18th EDITION, of The Standard Method for the Examination of Water and Wastewater |  |  | TIME: |  |  | 0 DAY DO DATE:
PROCEDURE NUMBER 5210 B |  |  | TIME: |  |  | 5 DAY DO DATE:
|  | V | ANALYST: | Mohamad S. Alawamy
W seeding
(1) SAMPLE TYPE | BLANK | Seeding |  | Kafr Mahfooz |  |  |  | Effluent spike | Seeding
(2) BOTTLE NUMBER
(3) SAMPLE VOLUME, ml
(4) DILUTION FACTOR = 300 / (3)
(5) INITIAL DO, mg/l
(6) 5- DAY DO, mg/l * | [8 empty] | V
(7) DO DEPLETION, mg/l = (5) - (6) ** | [8 empty] | 2
(8) BLANK DEPLETION CORRECTION, mg/l = (11) of Blank, mg/l X DW, ml / 300
(9) DO CORRECTION = (7) - (8)
(10) BOD5, mg/l = (9) X (4)
(11) BOD5 AVERAGE
(12) BOD5 Correction
( 13 ) Seeding DO depletion/ml |  |  |  | 2 | 3 | 4 | 6
(14) LOD ( Limit of Detection ) = 2 mg DO/L X ( 4 )
RPD
رجوع الى BOD | [6 empty] | رجوع

## Dispenser
[9 empty] | Column1 | 20E79250 | 18B75913 | 18B75882 | 20G33697 | 50109103 | 20G33740 | 19C43897 | 19C43891 | 19A06196 | 19C43892 | 100820020 | Column13 | Weigh | Error | Correction
[10 empty] | 20E79250 | 18B75913 | 18B75882 | 20G33697 | 50109103 | 20G33740 | 19C43897 | 19C43891 | 19A06196 | 19C43892 | 100820020 | Column13 | 0 | 0
[9 empty] | 0.5 | 0.03 | 0.01 | 0 |  | -0.0155 | 0.104 | 0.0032 | 0.1768 | 0 | -0.027 |  |  | 0.01 | -0.0002
[9 empty] | 1 | 0.03 | 0 | 0 |  | -0.016 | 0.088 | -0.0001 | 0.1701 | 0 | -0.03 | 0.03 |  | 0.02 | -0.000175
S.N. | WEIGHT | Correcttion | Net weight | [5 empty] | 1.5 | 0.01875 | -0.005 | -0.0075 |  | -0.0165 | 0.072 | -0.0034 | 0.1634 | 0 | -0.033 |  |  | 0.03 | -0.00015
Beaker | [8 empty] | 2 | 0.0075 | -0.01 | -0.015 |  | -0.017 | 0.056 | -0.0067 | 0.1567 | 0 | -0.036 | 0.018 |  | 0.04 | -0.000125
1st | [8 empty] | 2.5 | -0.00375 | -0.015 | -0.0225 |  | -0.0175 | 0.04 | -0.01 | 0.15 | 0 | -0.039 | 0.018 |  | 0.05 | -0.0001
2nd | [8 empty] | 3 | -0.015 | -0.02 | -0.03 |  | -0.018 | 0.024 | -0.012 | 0.144 | 0 | -0.04 |  |  | 0.06 | -8e-05
3rd | [8 empty] | 3.5 | -0.02625 | -0.025 | -0.0375 |  | -0.0185 | 0.008 | -0.014 | 0.138 | -0.001 | -0.04 |  |  | 0.07 | -6e-05
[9 empty] | 4 | -0.0375 | -0.03 | -0.045 |  | -0.019 | -0.008 | -0.016 | 0.132 | -0.034 | -0.04 |  |  | 0.08 | -4e-05
[9 empty] | 4.5 | -0.04875 | -0.035 | -0.0525 |  |  | -0.024 | -0.018 | 0.126 | -0.067 | -0.04 |  |  | 0.09 | -2e-05
[9 empty] | 5 | -0.06 | -0.04 | -0.06 |  | -0.02 | -0.04 | -0.02 | 0.12 | -0.1 | -0.04 | 0.038 |  | 0.1 | 0
[9 empty] | 6 | -0.064 | -0.044 | -0.064 |  | -0.021 | -0.056 | [6 empty] | 0.2 | 0
[9 empty] | 7 | -0.068 | -0.048 | -0.068 |  | -0.022 | -0.072 | [6 empty] | 0.3 | 1.7e-05
[9 empty] | 8 | -0.072 | -0.052 | -0.072 |  | -0.023 | -0.088 | [6 empty] | 0.4 | 3.4e-05
[9 empty] | 9 | -0.076 | -0.056 | -0.076 |  | -0.024 | -0.104 | [6 empty] | 0.5 | 5e-05
[9 empty] | 10 | -0.08 | -0.06 | -0.08 |  | -0.025 | -0.12 | [6 empty] | 0.6 | 4e-05
[9 empty] | 11 |  |  |  |  | -0.026 | -0.127 | [6 empty] | 0.7 | 3e-05
| Date | ID | Volume Dispensed | W1 | W2 | W2-W1 | Recovery | Remark | 12 |  |  |  |  | -0.027 | -0.134 | [6 empty] | 0.8 | 2e-05
[9 empty] | 13 |  |  |  |  | -0.028 | -0.141 | [6 empty] | 0.9 | 1e-05
[9 empty] | 14 |  |  |  |  | -0.029 | -0.148 | [6 empty] | 1 | 0
[9 empty] | 15 |  |  |  |  | -0.03 | -0.155 | [6 empty] | 2 | 0
[9 empty] | 16 |  |  |  |  | -0.031 | -0.162 | [6 empty] | 3 | 3.4e-05
[9 empty] | 17 |  |  |  |  | -0.032 | -0.169 | [6 empty] | 4 | 6.7e-05
[9 empty] | 18 |  |  |  |  | -0.033 | -0.176 | [6 empty] | 5 | 0.0001
[9 empty] | 19 |  |  |  |  | -0.034 | -0.183 | [6 empty] | 6 | 0.0001
[9 empty] | 20 |  |  |  |  | -0.035 | -0.19 | [6 empty] | 7 | 0.0001
[9 empty] | 21 |  |  |  |  | -0.036 | [7 empty] | 8 | 0.0001
[9 empty] | 22 |  |  |  |  | -0.037 | [7 empty] | 9 | 0.0001
[9 empty] | 23 |  |  |  |  | -0.038 | [7 empty] | 10 | 0.0001
[9 empty] | 24 |  |  |  |  | -0.039 | [7 empty] | 11 | 0.0001
[9 empty] | 25 |  |  |  |  | -0.04 | [7 empty] | 12 | 0.0001
[9 empty] | 26 |  |  |  |  | -0.0412 | [7 empty] | 13 | 0.0001
[9 empty] | 27 |  |  |  |  | -0.0424 | [7 empty] | 14 | 0.0001
[9 empty] | 28 |  |  |  |  | -0.0436 | [7 empty] | 15 | 0.0001
[9 empty] | 29 |  |  |  |  | -0.0448 | [7 empty] | 16 | 0.0001
[9 empty] | 30 |  |  |  |  | -0.046 | [7 empty] | 17 | 0.0001
[9 empty] | 31 |  |  |  |  | -0.0472 | [7 empty] | 18 | 0.0001
[9 empty] | 32 |  |  |  |  | -0.0484 | [7 empty] | 19 | 0.0001
[9 empty] | 33 |  |  |  |  | -0.0496 | [7 empty] | 20 | 0.0001
[9 empty] | 34 |  |  |  |  | -0.0508 | [7 empty] | 21 | 0.0001033
[9 empty] | 35 |  |  |  |  | -0.052 | [7 empty] | 22 | 0.0001066
[9 empty] | 36 |  |  |  |  | -0.0532 | [7 empty] | 23 | 0.0001099
[9 empty] | 37 |  |  |  |  | -0.0544 | [7 empty] | 24 | 0.0001132
[9 empty] | 38 |  |  |  |  | -0.0556 | [7 empty] | 25 | 0.0001165
[9 empty] | 39 |  |  |  |  | -0.0568 | [7 empty] | 26 | 0.0001198
[9 empty] | 40 |  |  |  |  | -0.058 | [7 empty] | 27 | 0.0001231
[9 empty] | 41 |  |  |  |  | -0.0592 | [7 empty] | 28 | 0.0001264
[9 empty] | 42 |  |  |  |  | -0.0604 | [7 empty] | 29 | 0.0001297
[9 empty] | 43 |  |  |  |  | -0.0616 | [7 empty] | 30 | 0.000133
[9 empty] | 44 |  |  |  |  | -0.0628 | [7 empty] | 31 | 0.0001363
[9 empty] | 45 |  |  |  |  | -0.064 | [7 empty] | 32 | 0.0001396
[9 empty] | 46 |  |  |  |  | -0.0652 | [7 empty] | 33 | 0.0001429
[9 empty] | 47 |  |  |  |  | -0.0664 | [7 empty] | 34 | 0.0001462
[9 empty] | 48 |  |  |  |  | -0.0676 | [7 empty] | 35 | 0.0001495
[9 empty] | 49 |  |  |  |  | -0.0688 | [7 empty] | 36 | 0.0001528
[9 empty] | 50 |  |  |  |  | -0.07 | [7 empty] | 37 | 0.0001561
[22 empty] | 38 | 0.0001594
[22 empty] | 39 | 0.0001627
[22 empty] | 40 | 0.000166
[22 empty] | 41 | 0.0001693
[22 empty] | 42 | 0.0001726
[22 empty] | 43 | 0.0001759
[22 empty] | 44 | 0.0001792
[22 empty] | 45 | 0.0001825
[22 empty] | 46 | 0.0001858
[22 empty] | 47 | 0.0001891
[22 empty] | 48 | 0.0001924
[22 empty] | 49 | 0.0001957
[22 empty] | 50 | 0.0002
[22 empty] | 51 | 0.0002025
[22 empty] | 52 | 0.000205
[22 empty] | 53 | 0.0002075
[22 empty] | 54 | 0.00021
[22 empty] | 55 | 0.0002125
[22 empty] | 56 | 0.000215
[22 empty] | 57 | 0.0002175
[22 empty] | 58 | 0.00022
[22 empty] | 59 | 0.0002225
[22 empty] | 60 | 0.000225
[22 empty] | 61 | 0.0002275
[22 empty] | 62 | 0.00023
[22 empty] | 63 | 0.0002325
[22 empty] | 64 | 0.000235
[22 empty] | 65 | 0.0002375
[22 empty] | 66 | 0.00024
[22 empty] | 67 | 0.0002425
[22 empty] | 68 | 0.000245
[22 empty] | 69 | 0.0002475
[22 empty] | 70 | 0.00025
[22 empty] | 71 | 0.0002493
[22 empty] | 72 | 0.0002476
[22 empty] | 73 | 0.0002459
[22 empty] | 74 | 0.0002442
[22 empty] | 75 | 0.0002425
[22 empty] | 76 | 0.0002408
[22 empty] | 77 | 0.0002391
[22 empty] | 78 | 0.0002374
[22 empty] | 79 | 0.0002357
[22 empty] | 80 | 0.000234
[22 empty] | 81 | 0.0002323
[22 empty] | 82 | 0.0002306
[22 empty] | 83 | 0.0002289
[22 empty] | 84 | 0.0002272
[22 empty] | 85 | 0.0002255
[22 empty] | 86 | 0.0002238
[22 empty] | 87 | 0.0002221
[22 empty] | 88 | 0.0002204
[22 empty] | 89 | 0.0002187
[22 empty] | 90 | 0.000217
[22 empty] | 91 | 0.0002153
[22 empty] | 92 | 0.0002136
[22 empty] | 93 | 0.0002119
[22 empty] | 94 | 0.0002102
[22 empty] | 95 | 0.0002085
[22 empty] | 96 | 0.0002068
[22 empty] | 97 | 0.0002051
[22 empty] | 98 | 0.0002034
[22 empty] | 99 | 0.0002017
[22 empty] | 100 | 0.0002
[22 empty] | 101 | 0.000203
[22 empty] | 102 | 0.000206
[22 empty] | 103 | 0.000209
[22 empty] | 104 | 0.000212
[22 empty] | 105 | 0.000215
[22 empty] | 106 | 0.000218
[22 empty] | 107 | 0.000221
[22 empty] | 108 | 0.000224
[22 empty] | 109 | 0.000227
[22 empty] | 110 | 0.00023
[22 empty] | 111 | 0.000233
[22 empty] | 112 | 0.000236
[22 empty] | 113 | 0.000239
[22 empty] | 114 | 0.000242
[22 empty] | 115 | 0.000245
[22 empty] | 116 | 0.000248
[22 empty] | 117 | 0.000251
[22 empty] | 118 | 0.000254
[22 empty] | 119 | 0.000257
[22 empty] | 120 | 0.00026
[22 empty] | 121 | 0.000263
[22 empty] | 122 | 0.000266
[22 empty] | 123 | 0.000269
[22 empty] | 124 | 0.000272
[22 empty] | 125 | 0.000275
[22 empty] | 126 | 0.000278
[22 empty] | 127 | 0.000281
[22 empty] | 128 | 0.000284
[22 empty] | 129 | 0.000287
[22 empty] | 130 | 0.00029
[22 empty] | 131 | 0.000293
[22 empty] | 132 | 0.000296
[22 empty] | 133 | 0.000299
[22 empty] | 134 | 0.000302
[22 empty] | 135 | 0.000305
[22 empty] | 136 | 0.000308
[22 empty] | 137 | 0.000311
[22 empty] | 138 | 0.000314
[22 empty] | 139 | 0.000317
[22 empty] | 140 | 0.00032
[22 empty] | 141 | 0.000323
[22 empty] | 142 | 0.000326
[22 empty] | 143 | 0.000329
[22 empty] | 144 | 0.000332
[22 empty] | 145 | 0.000335
[22 empty] | 146 | 0.000338
[22 empty] | 147 | 0.000341
[22 empty] | 148 | 0.000344
[22 empty] | 149 | 0.000347
[22 empty] | 150 | 0.00035
[22 empty] | 151 | 0.000346
[22 empty] | 152 | 0.000342
[22 empty] | 153 | 0.000338
[22 empty] | 154 | 0.000334
[22 empty] | 155 | 0.00033
[22 empty] | 156 | 0.000326
[22 empty] | 157 | 0.000322
[22 empty] | 158 | 0.000318
[22 empty] | 159 | 0.000314
[22 empty] | 160 | 0.00031
[22 empty] | 161 | 0.000306
[22 empty] | 162 | 0.000302
[22 empty] | 163 | 0.000298
[22 empty] | 164 | 0.000294
[22 empty] | 165 | 0.00029
[22 empty] | 166 | 0.000286
[22 empty] | 167 | 0.000282
[22 empty] | 168 | 0.000278
[22 empty] | 169 | 0.000274
[22 empty] | 170 | 0.00027
[22 empty] | 171 | 0.000266
[22 empty] | 172 | 0.000262
[22 empty] | 173 | 0.000258
[22 empty] | 174 | 0.000254
[22 empty] | 175 | 0.00025
[22 empty] | 176 | 0.000246
[22 empty] | 177 | 0.000242
[22 empty] | 178 | 0.000238
[22 empty] | 179 | 0.000234
[22 empty] | 180 | 0.00023
[22 empty] | 181 | 0.000226
[22 empty] | 182 | 0.000222
[22 empty] | 183 | 0.000218
[22 empty] | 184 | 0.000214
[22 empty] | 185 | 0.00021
[22 empty] | 186 | 0.000206
[22 empty] | 187 | 0.000202
[22 empty] | 188 | 0.000198
[22 empty] | 189 | 0.000194
[22 empty] | 190 | 0.00019
[22 empty] | 191 | 0.000186
[22 empty] | 192 | 0.000182
[22 empty] | 193 | 0.000178
[22 empty] | 194 | 0.000174
[22 empty] | 195 | 0.00017
[22 empty] | 196 | 0.000166
[22 empty] | 197 | 0.000162
[22 empty] | 198 | 0.000158
[22 empty] | 199 | 0.000154
[22 empty] | 200 | 0.00015
[22 empty] | 201 | 0.000157
[22 empty] | 202 | 0.000164
[22 empty] | 203 | 0.000171
[22 empty] | 204 | 0.000178
[22 empty] | 205 | 0.000185
[22 empty] | 206 | 0.000192
[22 empty] | 207 | 0.000199
[22 empty] | 208 | 0.000206
[22 empty] | 209 | 0.000213
[22 empty] | 210 | 0.00022
[22 empty] | 211 | 0.000227
[22 empty] | 212 | 0.000234
[22 empty] | 213 | 0.000241
[22 empty] | 214 | 0.000248
[22 empty] | 215 | 0.000255
[22 empty] | 216 | 0.000262
[22 empty] | 217 | 0.000269
[22 empty] | 218 | 0.000276
[22 empty] | 219 | 0.000283
[22 empty] | 220 | 0.00029
[22 empty] | 221 | 0.000297
[22 empty] | 222 | 0.000304
[22 empty] | 223 | 0.000311
[22 empty] | 224 | 0.000318
[22 empty] | 225 | 0.000325
[22 empty] | 226 | 0.000332
[22 empty] | 227 | 0.000339
[22 empty] | 228 | 0.000346
[22 empty] | 229 | 0.000353
[22 empty] | 230 | 0.00036
[22 empty] | 231 | 0.000367
[22 empty] | 232 | 0.000374
[22 empty] | 233 | 0.000381
[22 empty] | 234 | 0.000388
[22 empty] | 235 | 0.000395
[22 empty] | 236 | 0.000402
[22 empty] | 237 | 0.000409
[22 empty] | 238 | 0.000416
[22 empty] | 239 | 0.000423
[22 empty] | 240 | 0.00043
[22 empty] | 241 | 0.000437
[22 empty] | 242 | 0.000444
[22 empty] | 243 | 0.000451
[22 empty] | 244 | 0.000458
[22 empty] | 245 | 0.000465
[22 empty] | 246 | 0.000472
[22 empty] | 247 | 0.000479
[22 empty] | 248 | 0.000486
[22 empty] | 249 | 0.000493
[22 empty] | 250 | 0.0005
[22 empty] | 251 | 0.000503
[22 empty] | 252 | 0.000506
[22 empty] | 253 | 0.000509
[22 empty] | 254 | 0.000512
[22 empty] | 255 | 0.000515
[22 empty] | 256 | 0.000518
[22 empty] | 257 | 0.000521
[22 empty] | 258 | 0.000524
[22 empty] | 259 | 0.000527
[22 empty] | 260 | 0.00053
[22 empty] | 261 | 0.000533
[22 empty] | 262 | 0.000536
[22 empty] | 263 | 0.000539
[22 empty] | 264 | 0.000542
[22 empty] | 265 | 0.000545
[22 empty] | 266 | 0.000548
[22 empty] | 267 | 0.000551
[22 empty] | 268 | 0.000554
[22 empty] | 269 | 0.000557
[22 empty] | 270 | 0.00056
[22 empty] | 271 | 0.000563
[22 empty] | 272 | 0.000566
[22 empty] | 273 | 0.000569
[22 empty] | 274 | 0.000572
[22 empty] | 275 | 0.000575
[22 empty] | 276 | 0.000578
[22 empty] | 277 | 0.000581
[22 empty] | 278 | 0.000584
[22 empty] | 279 | 0.000587
[22 empty] | 280 | 0.00059
[22 empty] | 281 | 0.000593
[22 empty] | 282 | 0.000596
[22 empty] | 283 | 0.000599
[22 empty] | 284 | 0.000602
[22 empty] | 285 | 0.000605
[22 empty] | 286 | 0.000608
[22 empty] | 287 | 0.000611
[22 empty] | 288 | 0.000614
[22 empty] | 289 | 0.000617
[22 empty] | 290 | 0.00062
[22 empty] | 291 | 0.000623
[22 empty] | 292 | 0.000626
[22 empty] | 293 | 0.000629
[22 empty] | 294 | 0.000632
[22 empty] | 295 | 0.000635
[22 empty] | 296 | 0.000638
[22 empty] | 297 | 0.000641
[22 empty] | 298 | 0.000644
[22 empty] | 299 | 0.000647
[22 empty] | 300 | 0.00065
[22 empty] | 301 | 0.000655
[22 empty] | 302 | 0.00066
[22 empty] | 303 | 0.000665
[22 empty] | 304 | 0.00067
[22 empty] | 305 | 0.000675
[22 empty] | 306 | 0.00068
[22 empty] | 307 | 0.000685
[22 empty] | 308 | 0.00069
[22 empty] | 309 | 0.000695
[22 empty] | 310 | 0.0007

## Sheet1
Nominal Mass | Marking | Code | M | Error | U
1
2
2 | *
5
10
20
20 | *
50
100
200
200 | *
500
1 | GH5
2 | GYY
2 | GYZ
5 | EX2 |  |  | 0 | 0.07
10 | FBY |  |  | 0.0001 | 0.13
20 | HFL
20 | HFP |  |  | 0.0001 | 0.09
50 | FGY |  |  | 0.0002 | 0.22
100 | GYQ |  |  | 0.0001 | 0.37
Mass | Weight | Error | U |  |  | Weight | Limit | Balance Reading | Acceptance

## Observation
المرحلة | الرغوة | سطح الحوض | الندف | عمود الحمأة | صعود الحمأة | صعود الحمأة مرة أخرى
حوض تهوية رقم ( 1 )
حوض تهوية رقم ( 2 )
مجمع التهوية
حوض ترسيب رقم ( 1 )
حوض ترسيب رقم ( 2 )
مغلظ الحمأة
السيب النهائي
رجوع

## State Point
This spreadsheet will generate a flux curve given the
following inputs (insert value in the appropriate cell
between thick lines -- mind your units): | [6 empty] | 1 L Graduated Cylinder Without Stirring (SVIGN) |  | In place of a tall, narrow graduated cylinder, use a 1 liter beaker.
SVIGN |  |  | mL/g
No. of clarifiers |  |  |  | alpha= | 0.351 | L/g
Area of each |  |  | ft2 | beta= | 0.00058 | L/mL
MLSS |  |  | g/L | delta= | 0.00602 | g/mL
Inf. flow |  |  | mgd | gamma= | 18.2 | m/h
RAS flow |  |  | mgd
Alternate inf. flow |  | 0 | mgd
Alternate RAS flow |  | 0 | mgd
Summary Information
Choose desired flux units by |  | `
placing a "1" in place of | [10 empty] | mL/g
the "0" next to desired units: | [9 empty] | Total Clarifier Surface Area | ft2
[10 empty] | MLSS Concentration | mg/L
kg/m2h | 1 | [8 empty] | Influent Flow | m3/d
kg/m2d | 0 | [8 empty] | Surface Overflow Rate | m3/m2h
lb/ft2d | 0 | [8 empty] | RAS Flow | m3/d
Applied Solids Loading*
[10 empty] | RAS SS Concentration* | mg/L
Influent flow | 3000 | gpm | [7 empty] | SOUR
|  | mgd | [7 empty] | *Assumes underloaded conditions;check flux curve
Combined RAS flow | 1300 | gpm
mgd
X | G
Solids Concentration (g/L)
0
0.1
0.2
0.3
0.4
0.5 | [7 empty] | رجوع
0.6
0.7
0.8
0.9
1
1.1
1.2
1.3
1.4
1.5
1.6
1.7
1.8
1.9
2
2.1
2.2
2.3
2.4
2.5
2.6
2.7
2.8
2.9
3
3.1
3.2
3.3
3.4
3.5
3.6
3.7
3.8
3.9
4
4.1
4.2
4.3
4.4
4.5
4.6
4.7
4.8
4.9
5
5.1
5.2
5.3
5.4
5.5
5.6
5.7
5.8
5.9
6
6.1
6.2
6.3
6.4
6.5
6.6
6.7
6.8
6.9
7
7.1
7.2
7.3
7.4
7.5
7.6
7.7
7.8
7.9
8
8.1
8.2
8.3
8.4
8.5
8.6
8.7
8.8
8.9
9
9.1
9.2
9.3
9.4
9.5
9.6
9.7
9.8
9.9
10
10.1
10.2
10.3
10.4
10.5
10.6
10.7
10.8
10.9
11
11.1
11.2
11.3
11.4
11.5
11.6
11.7
11.8
11.9
12
12.1
12.2
12.3
12.4
12.5
12.6
12.7
12.8
12.9
13
13.1
13.2
13.3
13.4
13.5
13.6
13.7
13.8
13.9
14
14.1
14.2
14.3
14.4
14.5
14.6
14.7
14.8
14.9
15
0 |  |  | 0
0
0 |  |  |  |  | 0
0
0